Deviations from this procedure must be noted on back of this form.

All tests run under the following conditions:

* One bag of solid waste per cycle
* Open bag
* One cup water added

**Pass**

**Fail**

**Retest**

Testing Frequency:  Quarterly  Semiannually  Annually

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Test Date |  | EHS # |  | Make |  |
| Building |  | Room # |  | Model |  |
| Dept. |  | Contact |  | Serial # |  |
| EHS Staff |  | Lab Tech |  | MSU Id |  |

**Testing Conditions**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Test # | **Posted** | **Actual** |  | **Internal Use Only** | |
| Pressure  (PSI) |  |  |  | Inside Box | Black (Pass)  White (Fail) |
| Temperature (note °F or °C) |  |  |  | Outside Box | Black (Pass)  White (Fail) |
| Time  (Minutes) |  |  |  | Ampule at 24 Hours | Purple (Pass)  Yellow (Fail) |
| Cycle  (if available) |  |  |  | Control Ampule at 24 hours  (un-autoclaved ampule) | Purple (Fail)  Yellow (Pass) |

**Usage Information**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| How frequently is it used for decontaminating waste per week? | 1-5  5-10  10 + |  | **Internal Use Only** | |
| Used by multiple labs? | Single Lab  Multiple Labs |  | Entered into Filemaker |  |
| What is sterilized in autoclave? | Media  Equipment  Waste |  | Stickers Delivered/Sent |  |
| Trainer for new employees on use of autoclave? |  |  | Memo Sent |  |

**NOTES:**