Deviations from this procedure must be noted on back of this form.

All tests run under the following conditions:

* One bag of solid waste per cycle
* Open bag
* One cup water added

[ ]  **Pass**

[ ]  **Fail**

[ ]  **Retest**

Testing Frequency: [ ]  Quarterly [ ]  Semiannually [ ]  Annually

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Test Date |       | EHS # |       | Make |       |
| Building |       | Room # |       | Model |       |
| Dept. |       | Contact |       | Serial # |       |
| EHS Staff |       | Lab Tech |       | MSU Id |       |

**Testing Conditions**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Test # | **Posted** | **Actual** |  | **Internal Use Only** |
| Pressure (PSI) |       |       |  | Inside Box | [ ]  Black (Pass) [ ]  White (Fail) |
| Temperature (note °F or °C) |       |       |  | Outside Box | [ ]  Black (Pass)[ ]  White (Fail) |
| Time (Minutes) |       |       |  | Ampule at 24 Hours | [ ]  Purple (Pass)[ ]  Yellow (Fail) |
| Cycle (if available) |       |       |  | Control Ampule at 24 hours(un-autoclaved ampule) | [ ]  Purple (Fail)[ ]  Yellow (Pass) |

**Usage Information**

|  |  |  |  |
| --- | --- | --- | --- |
| How frequently is it used for decontaminating waste per week? | [ ]  1-5[ ]  5-10[ ]  10 + |  | **Internal Use Only** |
| Used by multiple labs? | [ ]  Single Lab[ ]  Multiple Labs |  | Entered into Filemaker | [ ]  |
| What is sterilized in autoclave? | [ ]  Media[ ]  Equipment[ ]  Waste |  | Stickers Delivered/Sent | [ ]  |
| Trainer for new employees on use of autoclave? |       |  | Memo Sent | [ ]  |

**NOTES:**